## Sheet1
fiberlengths.xls - last update 26 Oct 2007, Dick Plambeck
IF1 fiber lengths and losses from IF patch panel to fiber shoebox
OTDR measurements at 1550 nm using patch cable #H040096
L(feet) includes patch cable length, approx 10.3 ft
U(nsec) is underground fiber delay, with estimated patch cable delay subtracted
IOR | =1.46833
LpatchCable | =10.3
pad | L (feet) | U (nsec) | loss (dB)
6 | 3280.2 | 4881.3672 | 0.138
7 | 4230.8 | 6300.4404 | 0.188
11 | 1156.8 | 1711.5164 | 0.064
13 | 1140.6 | 1687.3327 | 0.079
14 | 2065.2 | 3067.5927 | 0.107
15 | 1932.9 | 2870.0928 | 0.313
20 | 2593.1 | 3855.6516 | 0.163
23 | 403.2 | 586.5284 | 0.107
24 | 1631.6 | 2420.3066 | 0.074
25 | 824.2 | 1215.005 | 0.035
26 | 690.005 | 1014.6762 | 0.039
27 | 754.8 | 1111.4034 | 0.16
28 | 2100.6 | 3120.4385 | 0.118
29 | 1011.9 | 1495.207 | 0.043
30 | 1054.4 | 1558.6518 | 0.036
31 | 783.16 | 1153.7397 | 0.517 | .44 dB loss at 37 ft
32 | 858.123 | 1265.6459 | 0.067
33 | 590.7 | 866.4319 | 0.075
35 | 899.07 | 1326.7723 | 0.106
36 | 1383.1 | 2049.3412 | 0.125
37 | 1191.5 | 1763.3172 | 0.155
38 | 1221.3 | 1807.8032 | 0.081
39 | 1182.7 | 1750.1804
40 | 885.7 | 1306.8133 | 0.587 | .44 dB loss at 28 ft
41 | 654.419 | 961.5528 | 0.149
42 | 336.891 | 487.5411 | 0.151
43 | 734.357 | 1080.8857
44 | 917.783 | 1354.7074 | 0.061
45 | 1446.2 | 2143.5381 | 0.091
46 |  | 1185.18
48 |  | 1089.28
49 | 837.06 | 1234.2026 | 0.145
51 | 1144.1 | 1692.5576
52 | 934.921 | 1380.2913 | 0.069
53 | 963.966 | 1423.6502 | 0.075
55 | 722.97 | 1063.887 | 0.116
58 | 698.378 | 1027.1756 | 0.069
60 | 1043.6 | 1542.5293 | 0.061
61 | 799.51 | 1178.1473 | 0.067
62 | 832.87 | 1227.9477 | 0.07
63 | 785.25 | 1156.8597 | 0.082
64 | 836.013 | 1232.6396 | 0.051
66 | 875.916 | 1292.2076 | 0.078
69 | 914.38 | 1349.6273 | 0.065
71 | 934.4 | 1379.5136 | 0.057
72 | 856.946 | 1263.8888 | 0.013
73 | 792.76 | 1168.0708 | 0.082
74 | 694.977 | 1022.0985 | 0.063
75 | 890.046 | 1313.3011